**Ε Ν Δ Ε Ι Κ Τ Ι Κ Ο Ε Ν Τ Υ Π Ο Ο Ι Κ Ο Ν Ο Μ Ι Κ Η Σ Π Ρ Ο Σ Φ Ο Ρ ΑΣ**

Του . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . κατοίκου . . . . . . . . . . . . . οδός . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  
 αριθμ. . . . . . . .Τηλ.:. . . . . . . . . . . . . . . . . . . . . . e-mail: . . . . . . . . . . . . . . . . . . . . . . . . . . .

Οι τιμές της παρούσης προσφοράς αφορούν την προμήθεια ειδών σύμφωνα με το Παράρτημα και περιλαμβάνουν εν γένει όλες τις απαιτούμενες δαπάνες, προμήθειας και μεταφοράς φορτώσεως - εκφορτώσεως των ανωτέρω ειδών. Ήτοι:

**«Προμήθεια Εργαστηριακών Αναλωσίμων (Είδη Γενικής Χρήσης - Υαλικά - Πλαστικά) για το έτος 2023»**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Α/Α** | **Κωδικός** | **Ονομασία** | **Περιγραφή** | **Ποσότητα/ συσκευασία** | **Μονάδα μέτρησης** | **Προϋπολογισθείσα τιμή μονάδος άνευ ΦΠΑ** | **Φ.Π.Α.** | **Ποσότητα** | **Συνολική προϋπολογισθείσα τιμή άνευ ΦΠΑ** | **Προσφερόμενη τιμή συνόλου ποσοτήτων άνευ ΦΠΑ** |
| 1 | Ε.Γ.Χ.005 | Büchner Funnel porcelain, 100mm | Büchner Funnel porcelain, 100mm | 1 | 1pc. | 9,00 € | 24% | 5 | 45,00 € |  |
| 2 | Ε.Γ.Χ.006 | Büchner Funnel porcelain, 120mm | Büchner Funnel porcelain, 120mm | 1 | 1pc. | 12,90 € | 24% | 1 | 12,90 € |  |
| 3 | Ε.Γ.Χ.007 | Büchner Funnel porcelain, 110mm | Büchner Funnel porcelain, 110mm | 1 | 1pc. | 35,00 € | 24% | 1 | 35,00 € |  |
| 4 | Ε.Γ.Χ.011 | Electric air pump for fish tank or aquarium 10 or 20 or 60 or 10-60 (any) gallons per hour one or two outlets | Electric air pump for fish tank or aquarium 10 or 20 or 60 or 10-60 (any) gallons per hour one or two outlets | 1 | 1pc. | 13,00 € | 24% | 4 | 52,00 € |  |
| 5 | Ε.Γ.Χ.015 | Filter paper sheets, 390 x 390mm, 60 g/m2 | Filter paper sheets, 390 x 390mm, 60 g/m2 | 1 | 500 sheets/pk | 26,45 € | 24% | 9 | 238,05 € |  |
| 6 | Ε.Γ.Χ.019 | Cellulose nitrate membrane filter, Ø 25 mm, pore size 0.2µm, non-sterile | Cellulose nitrate membrane filter, Ø 25 mm, pore size 0.2µm, non-sterile | 1 | 100/pk | 105,80 € | 24% | 1 | 105,80 € |  |
| 7 | Ε.Γ.Χ.025 | Glass microfiber filter, Grade GF/F, borosilicate glass circles, Ø 47mm, pore size 0.7-0.8μm | Glass microfiber filter, Grade GF/F, borosilicate glass circles, Ø 47mm, pore size 0.7-0.8μm | 1 | 100/pk | 23,00 € | 24% | 5 | 115,00 € |  |
| 8 | Ε.Γ.Χ.028 | Syringe filter, regenerated cellulose, Ø 13mm, 0.45μm pore size,HPLC certified, with Mini-Tip outlet | Syringe filter, regenerated cellulose, Ø 13mm, 0.45μm pore size,HPLC certified, with Mini-Tip outlet | 1 | 100/pk | 63,25 € | 24% | 3 | 189,75 € |  |
| 9 | Ε.Γ.Χ.030 | Silicon oil, for heating baths up to 250 °C | Silicon oil, for heating baths up to 250 °C | 1 | 1 L | 49,45 € | 24% | 1 | 49,45 € |  |
| 10 | Ε.Γ.Χ.033 | Magnetic stirring bar, PTFE, cylindrical, Length 5mm | Magnetic stirring bar, PTFE, cylindrical, Length 5mm | 1 | 10/pk | 17,60 € | 24% | 4 | 70,40 € |  |
| 11 | Ε.Γ.Χ.034 | Magnetic stirring bar, PTFE, cylindrical, Length 8mm | Magnetic stirring bar, PTFE, cylindrical, Length 8mm | 1 | 10/pk | 19,12 € | 24% | 3 | 57,36 € |  |
| 12 | Ε.Γ.Χ.036 | Magnet stirring bars, cylindrical, with ring, with permanent magnet, PTFE, Outer Ø: 5mm, Length: 12mm | Magnet stirring bars, cylindrical, with ring, with permanent magnet, PTFE, Outer Ø: 5mm, Length: 12mm | 1 | 1pc. | 2,30 € | 24% | 5 | 11,50 € |  |
| 13 | Ε.Γ.Χ.047 | Oil for vaccum pumps, type B | Oil for vaccum pumps, type B | 1 | 5 L/pk | 170,00 € | 24% | 1 | 170,00 € |  |
| 14 | Ε.Γ.Χ.048 | Pipetting Devices, Rubber Bulbs for smaller pipettes, Transparent natural rubber | Pipetting Devices, Rubber Bulbs for smaller pipettes, Transparent natural rubber | 1 | 100/pk | 21,00 € | 24% | 7 | 147,00 € |  |
| 15 | Ε.Γ.Χ.052 | Porcelain crucible covers (for porcelain crucibles 102/35, crucibles capacity 10 mL). | Porcelain crucible covers (for porcelain crucibles 102/35, crucibles capacity 10 mL). | 1 | 1pc. | 2,00 € | 24% | 20 | 40,00 € |  |
| 16 | Ε.Γ.Χ.053 | Porcelain Evaporating Dish 50mL, Ø 62mm, Round Bottom | Porcelain Evaporating Dish 50mL, Ø 62mm, Round Bottom | 1 | 1pc. | 4,14 € | 24% | 20 | 82,80 € |  |
| 17 | Ε.Γ.Χ.054 | Porcelain mortar, internal Ø 70-75mm, with pestle | Porcelain mortar, internal Ø 70-75mm, with pestle | 1 | 1pc. | 3,91 € | 24% | 9 | 35,19 € |  |
| 18 | Ε.Γ.Χ.058 | Brushes for glassware, (Μεσαίο μέγεθος με μήκος 20 cm+\_2) | Brushes for glassware, Ψυκτρες καθαρισμού υαλικών (Μεσαίο μέγεθος με μήκος 20 cm+\_2) | 1 | 1 pc. | 4,00 € | 24% | 26 | 104,00 € |  |
| 19 | Ε.Γ.Χ.059 | Test tube brushes, Ø 25-30mm | Test tube brushes, Ψύκτρες Καθαρισμού Δοκιμαστικών σωλήνων, Ø 25-30mm | 1 | 1pc. | 1,27 € | 24% | 53 | 67,31 € |  |
| 20 | Ε.Γ.Χ.060 | Test tube brushes, Ø 35mm, Total lenght: 25cm | Test tube brushes, Ψύκτρες Καθαρισμού Δοκιμαστικών σωλήνων, Ø 35mm, Total lenght: 25cm | 1 | 1pc. | 1,44 € | 24% | 48 | 69,12 € |  |
| 21 | Ε.Γ.Χ.063 | Spatoula, Double Ended 15cm Length, Square/Round End (Flat Ends 50mm x 9mm), Stainless Steel | Spatoula, Double Ended 15cm Length, Square/Round End (Flat Ends 50mm x 9mm), Stainless Steel | 1 | 1pc. | 2,65 € | 24% | 31 | 82,15 € |  |
| 22 | Ε.Γ.Χ.064 | Micro spatula with flat and spoon ends, made of stainless steel, spatula width about 4 mm, spoon dimensions about 7 mm long, 5 mm wide, about 1.8 mm deep, about length 210 mm. | Micro spatula with flat and spoon ends, made of stainless steel, spatula width about 4 mm, spoon dimensions about 7 mm long, 5 mm wide, about 1.8 mm deep, about length 210 mm. | 1 | 1pc. | 2,30 € | 24% | 18 | 41,40 € |  |
| 23 | Ε.Γ.Χ.065 | Tweezers Hyperfine; Λαβίδα με λεπτά άκρα κυρτή 12cm (τύπου DOLPHIN ESD-15) | Tweezers Hyperfine; Λαβίδα με λεπτά άκρα κυρτή 12cm (τύπου DOLPHIN ESD-15) | 1 | 1pc. | 3,22 € | 24% | 7 | 22,54 € |  |
| 24 | Ε.Γ.Χ.067 | Double Spatoula Flappers, Length ~15-25, Width ~0,5cm | Double Spatoula Flappers, Length ~15-25, Width ~0,5cm | 1 | 1pc. | 2,30 € | 24% | 1 | 2,30 € |  |
| 25 | Ε.Γ.Χ.069 | Dressing forceps, Stainless Steel, Length: ~20-22cm | Dressing forceps, Stainless Steel, Length: ~20-22cm | 1 | 1pc. | 3,34 € | 24% | 9 | 30,06 € |  |
| 26 | Ε.Γ.Χ.070 | Dressing forceps, Stainless Steel, Length: ~15cm | Dressing forceps, Stainless Steel, Length: ~15cm | 1 | 1pc. | 2,30 € | 24% | 16 | 36,80 € |  |
| 27 | Ε.Γ.Χ.075 | Bunsen Burner - butane refill adj. Flame | Bunsen Burner - butane refill adj. flame (συσκευή υγραερίου με φλόγιστρο, θέση για φιαλίδιο βουτανίου 190 g, με σύστημα ρύθμισης της ροής του αέρα στις τρύπες - τύπου LabGaz) | 1 | 1pc. | 25,30 € | 24% | 13 | 328,90 € |  |
| 28 | Ε.Γ.Χ.080 | Conductivity electrode, 1 m cable, BNC plug + 2 banana plugs, General purpose, Epoxy body, 1 cm-1, 0-80°C, Dual graphite plates, L110 x Ø12 mm | Conductivity electrode, 1 m cable, BNC plug + 2 banana plugs, General purpose, Epoxy body, 1 cm-1, 0-80°C, Dual graphite plates, L110 x Ø12 mm | 1 | 1pc. | 171,35 € | 24% | 1 | 171,35 € |  |
| 29 | Ε.Γ.Χ.081 | Cleaning set for microscopic lenses | Cleaning set for microscopic lenses (Σετ καθαρισμού για φακούς μικροσκοπίου με: μαλακή βούρτσα φακών, φυσητήρα, πανί καθαρισμού, χαρτάκια και υγρό καθαρισμού). | 1 | 1pc. | 13,80 € | 24% | 6 | 82,80 € |  |
| 30 | Ε.Γ.Χ.084 | Στατώ χρώσεων 24 θέσεων, πλαστικό | Στατώ χρώσεων 24 θέσεων, πλαστικό | 1 | 1pc. | 5,18 € | 24% | 5 | 25,90 € |  |
| 31 | Ε.Γ.Χ.085 | Low foaming alkaline detergent | Low foaming alkaline detergent. Αλκαλικό απορρυπαντικό χαμηλού αφρισμού, κατάλληλο για σκληρά νερά και χρήση σε πλυντήριο κλωβών πειραματοζώων | 1 | 20 L/pk | 126,50 € | 24% | 3 | 379,50 € |  |
| 32 | Ε.Γ.Χ.086 | Αcidic detergent - desalinating | Αcidic detergent – desalinating. Ισχυρό όξινο απορρυπαντικό - αφαλατικό για χρήση σε πλυντήριο κλωβών πειραματόζωων | 1 | 20 L/pk | 103,50 € | 24% | 3 | 310,50 € |  |
| 33 | Ε.Γ.Χ.087 | Effective oxidizing disinfectant with 5% peroxide | Effective oxidizing disinfectant with 5% peroxide. Oξειδωτικό απολυμαντικό με υπεροξεικό οξύ 5%. για χρήση σε πλυντήριο κλωβών πειραματόζωων | 1 | 20 L/pk | 143,75 € | 24% | 3 | 431,25 € |  |
| 34 | Ε.Γ.Χ.088 | Animal feed suitable for rodents | Animal feed suitable for rodents with the following characteristics: Η Ζωοτροφή πρέπει να περιέχει ποσοστό πρωτεΐνης κατάλληλο για συντήρηση-ανάπτυξη και θηλασμό τρωκτικών, καθώς και το ανάλογο ποσοστό βιταμινών, μεταλλικών στοιχείων, κλπ και να είναι απαλλαγμένη από σκόνη, παρασιτοκτόνα, αντιβιοτικά & λοιπές αντιμικροβιακές ουσίες καθώς και απαλλαγμένη από φυσικούς, χημικούς και μικροβιακούς ρυπαντές. Η τροφή πρέπει να είναι σε μορφή σφαιριδίων (pellets) και συσκευασμένη σε σάκους όπου να αναγράφεται ο αριθμός παραγωγής (lot number). Σύνθεση: Καλαμπόκι, Σογιάλευρο (από γενετικά τροποποιημένη Σόγια), Κριθάρι, Πίτυρα Σίτου, Ιχθυάλευρα, Γάλα Φυράματος, Μελάσσα. Χημική Ανάλυση: Πρωτεϊνη 18,5%, Ινώδεις Ουσίες 4,5%,Λιπαρές Ουσίες 5,5%, Τέφρα 6%, Υγρασία 12%, Ασβέστιο 1,5 %, Φώσφορος 0,65 %, Νάτριο 0,6 %. Διάρκεια Αποθήκυσης: 4 μήνες από την ημερομηνία παραγωγής σε μέρος δροσερό και ξηρό και σε κλειστές συσκευασίες. | 1 | 1Kg | 0,52 € | 6% | 3.056 | 1.589,12 € |  |
| 35 | Ε.Γ.Χ.089 | Mat Pad for rodent cages. Στρωμνή κατάλληλη για κλωβούς τρωκτικών. | Mat Pad for rodent cages. Στρωμνή κατάλληλη για κλωβούς τρωκτικών. To υλικό κατασκευής να είναι από σωματίδια ξύλου ελάτης μεγέθους περίπου 1,8mm, που δεν δημιουργούν σκόνη στο περιβάλλον του κλωβού. Να έχει υποστεί διαδικασία στεγνώματος που να εγγυάται την εξάλειψη μικροοργανισμών και μυκήτων. Να έχει ικανότητα απορρόφησης περίπου 3 φορές του βάρους της. Η συσκευασία να είναι σε σάκους των 10 κιλών. Η στρωμνή να μπορεί να αποστειρωθεί (autoclavable) και να μπορεί να αποθηκευτεί για μεγάλο χρονικό διάστημα, σε ξηρό περιβάλλον.Το προϊόν να συνοδεύεται από Πιστοποιητικό, που να αποδεικνύει ότι είναι κατάλληλο για χρήση σε εργαστηριακά ζώα (τρωκτικά) (μικροβιακό φορτίο, ανάλυση παρουσίας χημικών κλπ.). | 1 | 10 kg/pk | 23,00 € | 24% | 270 | 6.210,00 € |  |
| 36 | Ε.Γ.Χ.090 | Τροφή omni Cichlids pellets, 200g, (medium size: 3,8 mm) με κατάλληλη περιεκτικότητα σε πρωτεΐνη 42% | Τροφή omni Cichlids pellets, 200g, (medium size: 3,8 mm) με κατάλληλη περιεκτικότητα σε πρωτεΐνη 42%, κατάλληλη για διατήρηση, ανάπτυξη και αναπαραγωγή ιχθύων γλυκού νερού | 1 | 200g/pk | 12,25 € | 6% | 4 | 49,00 € |  |
| 37 | Ε.Γ.Χ.091 | Τροφή omni Cichlids pellets, 200g, (small size: 1,8 mm) με κατάλληλη περιεκτικότητα σε πρωτεΐνη 42% | Τροφή omni Cichlids pellets, 200g, ( small size: 1,8 mm) με κατάλληλη περιεκτικότητα σε πρωτεΐνη 42%, κατάλληλη για διατήρηση, ανάπτυξη και αναπαραγωγή ιχθύων γλυκού νερού | 1 | 200g/pk | 12,25 € | 6% | 4 | 49,00 € |  |
| 38 | Ε.Γ.Χ.092 | Τροφή Formula one marine pellets 400g, medium size (+/-3,1 mm) με κατάλληλη περιεκτικότητα σε πρωτεΐνη 42,1% | Τροφή Formula one marine pellets 400g, medium size (+/-3,1 mm) με κατάλληλη περιεκτικότητα σε πρωτεΐνη 42,1%, κατάλληλη για διατήρηση, ανάπτυξη και αναπαραγωγή ιχθύων θαλασσινού νερού | 1 | 400g/pk | 23,35 € | 6% | 3 | 70,05 € |  |
| 39 | Ε.Γ.Χ.093 | Τροφή Formula two marine pellets 400g, medium size (+/-3,1 mm) με κατάλληλη περιεκτικότητα σε πρωτεΐνη 38,1% | Τροφή Formula two marine pellets 400g, medium size (+/-3,1 mm) με κατάλληλη περιεκτικότητα σε πρωτεΐνη 38,1% κατάλληλη για διατήρηση, ανάπτυξη και αναπαραγωγή ιχθύων θαλασσινού νερού | 1 | 400g/pk | 23,35 € | 6% | 3 | 70,05 € |  |
| 40 | Ε.Γ.Χ.094 | Τροφή Brine shrimp plus flakes 154g, με κατάλληλη περιεκτικότητα σε πρωτεΐνη 54% | Τροφή Brine shrimp plus flakes 154g, με κατάλληλη περιεκτικότητα σε πρωτεΐνη 54% και πλούσια σε συστατικά κατάλληλη για διατήρηση, ανάπτυξη και αναπαραγωγή ιχθύων θαλασσινού νερού | 1 | 154g/pk | 15,29 € | 6% | 4 | 61,16 € |  |
| 41 | Ε.Γ.Χ.095 | Τροφή instant baby brine shrimp (ocean nutrition) 20g | Τροφή instant baby brine shrimp (ocean nutrition) 20g | 1 | 20g/pk | 9,27 € | 6% | 5 | 46,35 € |  |
| 42 | Ε.Γ.Χ.096 | Συμπυκνωμένο βακτηριακό διάλυμμα (τύπου Prodibio Bio digest 30 amp) | Συμπυκνωμένο βακτηριακό διάλυμμα (τύπου Prodibio Bio digest 30 amp), για την δημιουργία βιολογίας στο φίλτρο, να περιέχει ποικιλία ετερότροφων βακτηρίων | 1 | 30amp/pk | 27,68 € | 6% | 4 | 110,72 € |  |
| 43 | Ε.Γ.Χ.097 | Τεχνητό Συνθετικό αλάτι - με ιχνοστοιχεία - τύπου tropic marine | Τεχνητό Συνθετικό αλάτι -με ιχνοστοιχεία- τύπου tropic marine | 1 | 25Kg/pk | 71,60 € | 6% | 5 | 358,00 € |  |
| 44 | Ε.Γ.Χ.098 | Classic Sea Salt (25 Kg - 750 L); Salt for preparing seawater. | Classic Sea Salt (25 Kg - 750 L); Salt for preparing seawater. To include macro and trace elements, providing natural living conditions in aquaria. Αλάτι για την παρασκευή θαλασσινού νερού φαρμακευτικώς καθαρό. Να περιλαμβάνει και τα 70 ιχνοστοιχεία σε συγκεντρώσεις που βρίσκονται στη θάλασσα, παρέχοντας φυσικές συνθήκες διαβίωσης στο ενυδρείο. | 1 | 25 kg/pK | 90,00 € | 6% | 2 | 180,00 € |  |
| 45 | Ε.Γ.Χ.099 | Salt tablets. | Salt tablets. The tablets should be made of very pure salt crystals (NaCl min 99.00%), suitable for food, should not contain additives and with grain size that guarantees perfect solubility. Να είναι κατάλληλες για όλους τους τύπους αποσκληρυντών νερού, ηλεκτροχλωριωτών (διαδικασία ηλεκτρόλυσης σε πισίνες) όπως και σε διάφορες εφαρμογές της βιομηχανίας τροφίμων. Οι ταμπλέτες να πληρούν τα πρότυπα EN 973 τύπου A, AFNOR T-90 612, DIN 19604 | 1 | 25kg/pk | 78,20 € | 24% | 5 | 391,00 € |  |
| 46 | Ε.Γ.Χ.165 | Σάκος κολοστομίας αδιαφανής με φίλτρο από 100% υδροκολλοειδές υλικό | Σάκος κολοστομίας αδιαφανής με φίλτρο από 100% υδροκολλοειδές υλικό που προστατεύει το δέρμα και απορροφά την πλεονάζουσα υγρασία. Να διαθέτει άνοιγμα σε διάφορα μεγέθη και να μπορεί να κοπεί κατά βούληση με την βοήθεια ειδικού οδηγού. | 1 | 1pc. | 5,00 € | 24% | 10 | 50,00 € |  |
| 47 | Ε.Γ.Χ.166 | Βάση για σάκο κολοστομίας εύκαμπτες από 100% υδροκολλοειδές υλικό | Βάση για σάκο κολοστομίας εύκαμπτες από 100% υδροκολλοειδές υλικό που προστατεύει το δέρμα και απορροφά την πλεονάζουσα υγρασία. Να διαθέτει άνοιγμα σε διάφορα μεγέθη και να μπορεί να κοπεί κατά βούληση με την βοήθεια ειδικού οδηγού. | 1 | 1pc. | 10,00 € | 24% | 10 | 100,00 € |  |
| 48 | Ε.Γ.Χ.184 | Συσκευή µέτρησης κεντρικής φλεβικής πίεσης (ΚΦΠ). | Συσκευή μέτρησης κεντρικής φλεβικής πίεσης (ΚΦΠ). Συσκευή μέτρησης κεντρικής φλεβικής πίεσης, αποτελούμενη από: µανόµετρο - στήλη πλαστική αριθμημένη από -6 έως +36 µε δείκτη 0, µε ενσωματωμένο 3-way stop-cock για συνεχείς μετρήσεις, προέκταση για άµεση σύνδεση µε τον καθετήρα του ασθενούς. Από P.V.C. μήκους 100cm, µε διακλάδωση για πρόσθετη έγχυση φαρμάκων. Το µανόµετρο φέρει στηρίγματα για στερέωση στο στατώ ορού. | 1 | 10/pk | 410,00 € | 24% | 1 | 410,00 € |  |
| 49 | Ε.Γ.Χ.185 | Μανόμετρο μέτρησης ενδοτραχειακού. Πιεσόμετρο για την μέτρηση της πίεσης του cuff σε τραχειοσωλήνες. | Μανόμετρο μέτρησης ενδοτραχειακού. Πιεσόμετρο για την μέτρηση της πίεσης του cuff σε τραχειοσωλήνες. | 1 | 1pc. | 160,00 € | 24% | 1 | 160,00 € |  |
| 50 | Ε.Γ.Χ.243 | Πεχάμετρο τσέπης (pH & ATC) ψηφιακό με ενσωματωμένο ηλεκτρόδιο. | Πεχάμετρο τσέπης (pH & ATC) ψηφιακό με ενσωματωμένο ηλεκτρόδιο. Εύρος Μέτρησης pH: 0.0 - 14.0, Ανάλυση: 0.1 pH, Ακρίβεια: ± 0.1 pH (20 ± 5 °C ), ± 0.2 pH (στο υπόλοιπο θερμοκρασιακό εύρος). Εύρος Θερμοκρασίας Λειτουργίας: 0 - 50°C (32 - 122°F). Βαθμονόμηση: Χειροκίνητη, 1 σημείο βαθμονόμησης | 1 | 1pc. | 20,00 € | 24% | 5 | 100,00 € |  |
| 51 | ΠΛ.003 | Bottles for solutions storage, polypropylene, capacity 1000 mL, with screw cap | Bottles for solutions storage, polypropylene, capacity 1000 mL, with screw cap | 1 | 1pc. | 1,44 € | 24% | 27 | 38,88 € |  |
| 52 | ΠΛ.009 | Plastic Bottles with Dropper Mouth and Cap (100 or 150 mL). | Plastic Bottles with Dropper Mouth and Cap (100 or 150 mL). Μπουκαλάκια Πλαστικά με Σταγονομετρικό Στόμιο και Πώμα. | 1 | 12/pk | 12,50 € | 24% | 4 | 50,00 € |  |
| 53 | ΠΛ.010 | Plastic Dropper Bottles transparent 100-120 mL | Plastic Dropper Bottles transparent 100-120 mL | 1 | 1pc. | 1,50 € | 24% | 3 | 4,50 € |  |
| 54 | ΠΛ.011 | Vials, plastic, ~30mL, Screw Neck, with screw cap, Open-top | Vials, plastic, ~30mL, Screw Neck, with screw cap, Open-top | 1 | 1pc. | 1,00 € | 24% | 60 | 60,00 € |  |
| 55 | ΠΛ.022 | Coulter counter cups, transparent, 20 mL | Coulter counter cups, transparent, 20 mL | 1 | 200/pk | 22,49 € | 24% | 7 | 157,43 € |  |
| 56 | ΠΛ.024 | Cuvettes for photometer 1cm polystyrene capacity 4 mL, with 2 clear sides | Cuvettes for photometer 1cm polystyrene capacity 4 mL, with 2 clear sides | 1 | 100/pk | 9,96 € | 24% | 2 | 19,92 € |  |
| 57 | ΠΛ.025 | Cuvettes for photometer 1cm, polystyrene capacity 2 mL, with 2 clear sides | Cuvettes for photometer 1cm, polystyrene capacity 2 mL, with 2 clear sides | 1 | 100/pk. | 8,41 € | 24% | 15 | 126,15 € |  |
| 58 | ΠΛ.029 | Joint stoppers PP ST/NS 24/29 for flasks with ground joint | Joint stoppers PP ST/NS 24/29 for flasks with ground joint. Πλαστικά πώματα PP για εσμυρισμένες φιάλες 24/29 | 1 | 1pc. | 0,36 € | 24% | 23 | 8,28 € |  |
| 59 | ΠΛ.033 | Eppendorf Tubes 0.5 mL - Graduaded conical (Safe lock) | Eppendorf Tubes 0.5 mL - Graduaded conical (Safe lock) | 1 | 1000/pk | 10,24 € | 24% | 7 | 71,68 € |  |
| 60 | ΠΛ.034 | Eppendorf Tubes 1.5 mL - Graduaded conical (Safe lock) | Eppendorf Tubes 1.5 mL - Graduaded conical (Safe lock) | 1 | 500/pk | 4,99 € | 24% | 22 | 109,78 € |  |
| 61 | ΠΛ.046 | Plastic sampling bags with zip, ~10 x 7cm. | Plastic sampling bags with zip, ~10 x 7cm. Σακουλάκια διαφανή με κλείσιμο zip | 1 | 100/pk | 2,47 € | 24% | 6 | 14,82 € |  |
| 62 | ΠΛ.047 | Plastic sampling bags with zip, ~10 x 15cm. | Plastic sampling bags with zip, ~10 x 15cm. Σακουλάκια διαφανή με κλείσιμο zip | 1 | 100/pk | 3,91 € | 24% | 4 | 15,64 € |  |
| 63 | ΠΛ.051 | Bags-Σακούλες τύπου Stomacher, 400 mL, 17,5x30cm, αποστειρωμένες, ανά 25άδες | Bags-Σακούλες τύπου Stomacher, 400 mL, 17,5x30cm, αποστειρωμένες, ανά 25άδες | 1 | 500/pk. | 34,00 € | 24% | 1 | 34,00 € |  |
| 64 | ΠΛ.052 | Seward™ Stomacher™ Bag Racks | Seward™ Stomacher™ Bag Racks | 1 | 1pc. | 71,40 € | 24% | 1 | 71,40 € |  |
| 65 | ΠΛ.064 | Rack for test tubes up to 16mm, divisible, made of polypropylene, number of holes 60 | Rack for test tubes up to 16mm, divisible, made of polypropylene, number of holes 60 | 1 | 1pc. | 5,41 € | 24% | 10 | 54,10 € |  |
| 66 | ΠΛ.066 | Test tube stoppers polyethylene 15/16mm | Test tube stoppers polyethylene 15/16mm | 1 | 100/pk. | 2,20 € | 24% | 4 | 8,80 € |  |
| 67 | ΠΛ.068 | Rack for Micro-tubes (eppendorfs) of 1.5 mL, divisible, made of polypropylene, number of holes 100 | Rack for Micro-tubes (eppendorfs) of 1.5 mL, divisible, made of polypropylene, number of holes 100 | 1 | 1pc. | 6,27 € | 24% | 4 | 25,08 € |  |
| 68 | ΠΛ.081 | Water jet vacuum pump | Water jet vacuum pump | 1 | 1pc. | 12,08 € | 24% | 16 | 193,28 € |  |
| 69 | ΠΛ.082 | Red hose for water jet pump, outer Ø ~1,7cm, inner Ø ~1 cm | Red hose for water jet pump, outer Ø ~1,7cm, inner Ø ~1 cm | 1 | 1 m | 1,50 € | 24% | 5 | 7,50 € |  |
| 70 | ΥΑΛ.001 | Beakers 25 mL, borosilicate-glass 3.3, with graduation and spout, tall form | Beakers 25 mL, borosilicate-glass 3.3, with graduation and spout, tall form | 1 | 10/pk | 8,05 € | 24% | 5 | 40,25 € |  |
| 71 | ΥΑΛ.002 | Beakers 50 mL, borosilicate-glass 3.3 with graduation and spout, low form | Beakers 50 mL, borosilicate-glass 3.3 with graduation and spout, low form | 1 | 10/pk | 6,90 € | 24% | 16 | 110,40 € |  |
| 72 | ΥΑΛ.003 | Beakers 50 mL, borosilicate-glass 3.3 with graduation and spout, tall form | Beakers 50 mL, borosilicate-glass 3.3 with graduation and spout, tall form | 1 | 10/pk | 8,63 € | 24% | 2 | 17,26 € |  |
| 73 | ΥΑΛ.006 | Beakers 250 mL, borosilicate-glass 3.3, with graduation and spout, tall form | Beakers 250 mL, borosilicate-glass 3.3, with graduation and spout, tall form | 1 | 1pc. | 1,59 € | 24% | 35 | 55,65 € |  |
| 74 | ΥΑΛ.008 | Beakers 400 mL, borosilicate-glass3.3, with graduation and spout, tall form | Beakers 400 mL, borosilicate-glass3.3, with graduation and spout, tall form | 1 | 1pc. | 1,96 € | 24% | 16 | 31,36 € |  |
| 75 | ΥΑΛ.010 | Beakers 500 mL, borosilicate-glass 3.3, with graduation and spout, tall form | Beakers 500 mL, borosilicate-glass 3.3, with graduation and spout, tall form | 1 | 1pc. | 2,39 € | 24% | 35 | 83,65 € |  |
| 76 | ΥΑΛ.011 | Beakers 600 mL, borosilicate glass, 3.3, with graduation and spout, low form | Beakers 600 mL, borosilicate glass, 3.3, with graduation and spout, low form | 1 | 1pc. | 1,78 € | 24% | 47 | 83,66 € |  |
| 77 | ΥΑΛ.024 | Burette (auto-fill, self-zeroing), Προχοϊδα αυτόματης πλήρωσης, 50 mL/0,1, class B. | Burette (auto-fill, self-zeroing), Προχοϊδα αυτόματης πλήρωσης, 50 mL/0,1, class B. Με πλαστική βάση και πλαστικό δοχείο αντιδραστηρίου χωρητικότητας 1000mL | 1 | 1pc. | 67,85 € | 24% | 1 | 67,85 € |  |
| 78 | ΥΑΛ.025 | Condenser Liebig, Borosilicate Glass, effective length 25cm, Joint (Socket & Cone): ST 24/29, Water connection:8-9mm. | Condenser Liebig, Borosilicate Glass, effective length 25cm, Joint (Socket & Cone): ST 24/29, Water connection:8-9mm. Ψυκτήρας τύπου Liebig, 25cm, NS24/29  και υποδοχές νερού 8-9mm | 1 | 1/pk | 20,00 € | 24% | 3 | 60,00 € |  |
| 79 | ΥΑΛ.026 | Condenser Liebig, Borosilicate Glass, effective length 40cm, Joint (Socket & Cone): ST 24/29, Water connection: 8-9mm. | Condenser Liebig, Borosilicate Glass, effective length 40cm, Joint (Socket & Cone): ST 24/29, Water connection: 8-9mm. Ψυκτήρας τύπου Liebig, 40cm, NS24/29  και υποδοχές νερού 8-9mm | 1 | 1/pk | 24,50 € | 24% | 3 | 73,50 € |  |
| 80 | ΥΑΛ.032 | Desiccator Replacement Lid made of neutral borosilicate glass, Ø ext: 210 mm and Ø int: 150 mm | Desiccator Replacement Lid made of neutral borosilicate glass, Ø ext: 210 mm and Ø int: 150 mm | 1 | 1pc. | 14,00 € | 24% | 5 | 70,00 € |  |
| 81 | ΥΑΛ.033 | Erlenmeyer Flask 25 mL, narrow neck,with graduation, borosilicate glass 3.3 | Erlenmeyer Flask 25 mL, narrow neck,with graduation, borosilicate glass 3.3 | 1 | 1pc. | 1,24 € | 24% | 37 | 45,88 € |  |
| 82 | ΥΑΛ.035 | Erlenmeyer Flask 50 mL, wide neck, with graduation, borosilicate glass 3.3 | Erlenmeyer Flask 50 mL, wide neck, with graduation, borosilicate glass 3.3 | 1 | 1pc. | 1,80 € | 24% | 15 | 27,00 € |  |
| 83 | ΥΑΛ.045 | Funnel glass, Ø 7cm | Funnel glass, Ø 7cm | 1 | 1pc. | 2,60 € | 24% | 21 | 54,60 € |  |
| 84 | ΥΑΛ.046 | Funnel, glass, Ø 12cm | Funnel, glass, Ø 12cm | 1 | 1pc. | 5,52 € | 24% | 25 | 138,00 € |  |
| 85 | ΥΑΛ.048 | Graduated Volumetric Cylinder with spout, Class B,10 mL, division 0.2 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4788 | Graduated Volumetric Cylinder with spout, Class B,10 mL, division 0.2 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4788 | 1 | 1pc. | 0,92 € | 24% | 60 | 55,20 € |  |
| 86 | ΥΑΛ.049 | Graduated Volumetric Cylinder with spout, Class A, 25 mL, division 0.50 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4788 | Graduated Volumetric Cylinder with spout, Class A, 25 mL, division 0.50 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4788 | 1 | 1pc. | 4,14 € | 24% | 17 | 70,38 € |  |
| 87 | ΥΑΛ.051 | Graduated Volumetric Cylinder with spout, Class B, 50 mL, division 1 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4788 | Graduated Volumetric Cylinder with spout, Class B, 50 mL, division 1 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4788 | 1 | 1pc. | 3,68 € | 24% | 15 | 55,20 € |  |
| 88 | ΥΑΛ.053 | Graduated Volumetric Cylinder with spout, Class B, 100 mL, division 1 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4788 | Graduated Volumetric Cylinder with spout, Class B, 100 mL, division 1 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4788 | 1 | 1pc. | 4,72 € | 24% | 13 | 61,36 € |  |
| 89 | ΥΑΛ.054 | Graduated Volumetric Cylinder with spout, Class A, 250 mL, division 2.0 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4792 | Graduated Volumetric Cylinder with spout, Class A, 250 mL, division 2.0 mL, borosilicate glass 3.3, tolerance according to DIN EN ISO 4792 | 1 | 1pc. | 9,32 € | 24% | 2 | 18,64 € |  |
| 90 | ΥΑΛ.064 | Melting point determination tubes, capillary tubes, both ends open, outside dimensions L × Ø , (75mm × 1.55mm) | Melting point determination tubes, capillary tubes, both ends open, outside dimensions L × Ø , (75mm × 1.55mm) | 1 | 1000/pk | 73,60 € | 24% | 3 | 220,80 € |  |
| 91 | ΥΑΛ.065 | Melting point determination tubes, capillary tubes, one end closed, L × I.D. × O.D. (75 mm × 0.95 mm × 1.35 mm) | Melting point determination tubes, capillary tubes, one end closed, L × I.D. × O.D. (75 mm × 0.95 mm × 1.35 mm) | 1 | 1000/pk | 90,85 € | 24% | 3 | 272,55 € |  |
| 92 | ΥΑΛ.066 | Microscope slides, glass, 76x26mm, 1mm thick, ground edges, WITHOUT frosted area | Microscope slides, glass, 76x26mm, 1mm thick, ground edges, WITHOUT frosted area | 1 | 50/pk | 2,05 € | 24% | 32 | 65,60 € |  |
| 93 | ΥΑΛ.067 | Microscope adhesive slides. Hydrophilic adhesion slides 75mm x 25mm x 1mm for immunohistochemistry applications with superior tissue adhesion, staining performance and slide surface fluidics. | Microscope adhesive slides. Hydrophilic adhesion slides 75mm x 25mm x 1mm for immunohistochemistry applications with superior tissue adhesion, staining performance and slide surface fluidics. With proprietary slide coating that ensures consistent performance even after exposure to heat stress and humid environmental conditions. Optimized for use with thermal printers and recommended for use in automated IHC platforms. Manufactured with clear, exceptionally flat, low fluorescence glass and finished with 90° and clipped corners. | 1 | 100/pk | 6,21 € | 24% | 61 | 378,81 € |  |
| 94 | ΥΑΛ.068 | Microscope slides, glass, 46x28mm, 2mm thick, grounded edges. | Microscope slides, glass, 46x28mm, 2mm thick, grounded edges. Should be produced from low-tension raw material of an adequate thickness to avoid breakage. Να είναι κατάλληλα για την παρασκευή πετρολογικών δειγμάτων (λεπτών και στιλπνών τομών). Να είναι συμβατά με τον συγκρατητήρα τύπου PLJ2 (Precision Lapping Jig) του συστήματος λείανσης Logitech LP50. Να είναι τύπου HERKA ή ανάλογου. | 1 | 25/pk | 42,00 € | 24% | 36 | 1.512,00 € |  |
| 95 | ΥΑΛ.069 | NMR tubes; Norell® Standard Series™ 5 mm NMR tubes, L=7in, for frequency 500 MHz, pack of 5 | NMR tubes; Norell® Standard Series™ 5 mm NMR tubes, L=7in, for frequency 500 MHz, pack of 5 | 1 | 5/pk. | 90,85 € | 24% | 2 | 181,70 € |  |
| 96 | ΥΑΛ.070 | NMR tubes 7 inches | NMR tubes 7 inches | 1 | 5/pk | 32,20 € | 24% | 5 | 161,00 € |  |
| 97 | ΥΑΛ.071 | Optical Quartz cells (UV): Square cuvettes, path Length: 10mm, two transparent windows, volume: 700 μL | Optical Quartz cells (UV): Square cuvettes, path Length: 10mm, two transparent windows, volume: 700 μL | 1 | 2/pk | 126,50 € | 24% | 1 | 126,50 € |  |
| 98 | ΥΑΛ.072 | Optical Quartz cells (UV): Square cuvettes, path Length: 10mm, volume: 3.5 mL (approx.), all sides clear | Optical Quartz cells (UV): Square cuvettes, path Length: 10mm, volume: 3.5 mL (approx.), all sides clear | 1 | 2/pk | 98,90 € | 24% | 3 | 296,70 € |  |
| 99 | ΥΑΛ.073 | Optical Quartz cells (UV): Square cuvettes, path Length: 10mm, two transparent windows, volume: 1000 μL | Optical Quartz cells (UV): Square cuvettes, path Length: 10mm, two transparent windows, volume: 1000 μL | 1 | 1 pc. | 130,00 € | 24% | 2 | 260,00 € |  |
| 100 | ΥΑΛ.074 | Optical Glass cuvettes 1cm, path Length: 10mm, with two frosted sides, volume: 3.5 mL (approx.) | Optical Glass cuvettes 1cm, path Length: 10mm, with two frosted sides, volume: 3.5 mL (approx.) | 1 | 2/pk | 26,45 € | 24% | 2 | 52,90 € |  |
| 101 | ΥΑΛ.079 | Pipette-Graduated, 10 mL, class AS, glass, with 0.1 mL subdivisons | Pipette-Graduated, 10 mL, class AS, glass, with 0.1 mL subdivisons | 1 | 1pc. | 1,27 € | 24% | 38 | 48,26 € |  |
| 102 | ΥΑΛ.082 | Pipette-Pasteur, long form 230mm, glass, fine drawn tip | Pipette-Pasteur, long form 230mm, glass, fine drawn tip | 1 | 250/pk | 8,63 € | 24% | 26 | 224,38 € |  |
| 103 | ΥΑΛ.083 | Pipette-Pasteur, short form 150mm, glass, fine drawn tip | Pipette-Pasteur, short form 150mm, glass, fine drawn tip | 1 | 250/pk | 8,63 € | 24% | 36 | 310,68 € |  |
| 104 | ΥΑΛ.087 | Quartz glass tubes diam 26 mm thickness 2 mm | Quartz glass tubes diam 26 mm thickness 2 mm | 1 | 1 meter | 16,00 € | 24% | 45 | 720,00 € |  |
| 105 | ΥΑΛ.088 | Quartz glass tubes diam 28 mm thickness 2 mm | Quartz glass tubes diam 28 mm thickness 2 mm | 1 | 1 meter | 16,00 € | 24% | 45 | 720,00 € |  |
| 106 | ΥΑΛ.089 | Quartz glass tubes diam 30 mm thickness 2 mm | Quartz glass tubes diam 30 mm thickness 2 mm | 1 | 1 meter | 18,00 € | 24% | 30 | 540,00 € |  |
| 107 | ΥΑΛ.090 | Quartz glass tubes diam 34 mm thickness 2 mm | Quartz glass tubes diam 34 mm thickness 2 mm | 1 | 1 meter | 22,00 € | 24% | 30 | 660,00 € |  |
| 108 | ΥΑΛ.091 | Quartz glass tubes diam 36 mm thickness 2 mm | Quartz glass tubes diam 36 mm thickness 2 mm | 1 | 1 meter | 24,00 € | 24% | 20 | 480,00 € |  |
| 109 | ΥΑΛ.092 | Quartz glass tubes diam 38 mm thickness 2 mm | Quartz glass tubes diam 38 mm thickness 2 mm | 1 | 1 meter | 24,00 € | 24% | 21 | 504,00 € |  |
| 110 | ΥΑΛ.093 | Reagent Bottle 1000mL, Ground-in Glass Stopper, Wide Mouth Transparent | Reagent Bottle 1000mL, Ground-in Glass Stopper, Wide Mouth Transparent (Φιαλίδια αντιδραστηρίων, διαφανή, ευρύλαιμα, με γυάλινο εσμυρισμένο πώμα) | 1 | 1pc. | 11,50 € | 24% | 3 | 34,50 € |  |
| 111 | ΥΑΛ.094 | Round Bottom Flask 5 mL, neck (14/23), borosilicate glass 3.3 | Round Bottom Flask 5 mL, neck (14/23), borosilicate glass 3.3 | 1 | 1pc. | 5,50 € | 24% | 12 | 66,00 € |  |
| 112 | ΥΑΛ.104 | Stirring rods glass 400 x 6mm | Stirring rods glass 400 x 6mm | 1 | 1pc. | 3,80 € | 24% | 33 | 125,40 € |  |
| 113 | ΥΑΛ.108 | Syringe-Glass, 5 mL / 0,2 mL, brown graduated, metall luer-lock-tip, autoclavable up to 134°C, borosilicate glass | Syringe-Glass, 5 mL / 0,2 mL, brown graduated, metall luer-lock-tip, autoclavable up to 134°C, borosilicate glass | 1 | 1pc. | 9,09 € | 24% | 5 | 45,45 € |  |
| 114 | ΥΑΛ.114 | Screw Neck Vial N 15, 8 mL, Outer Ø x H (16,6 x 61mm), clear, flat bottom N 15 PP screw cap, black, closed top Silicone white/PTFE red Hardness: 40° shore A Thickness: 1.3mm | Screw Neck Vial N 15, 8 mL, Outer Ø x H (16,6 x 61mm), clear, flat bottom N 15 PP screw cap, black, closed top Silicone white/PTFE red Hardness: 40° shore A Thickness: 1.3mm | 1 | 100/pk | 41,98 € | 24% | 4 | 167,92 € |  |
| 115 | ΥΑΛ.117 | Test Tubes, borosilicate glass, Length 16cm, Ø 1.5cm | Test Tubes, borosilicate glass, Length 16cm, Ø 1.5cm | 1 | 100/pk | 25,00 € | 24% | 11 | 275,00 € |  |
| 116 | ΥΑΛ.120 | Volumetric Flask 10 mL, DIN A, PP stopper, clear glass, wide neck | Volumetric Flask 10 mL, DIN A, PP stopper, clear glass, wide neck | 1 | 1pc. | 2,42 € | 24% | 5 | 12,10 € |  |
| 117 | ΥΑΛ.121 | Volumetric Flask 25 mL, DIN A, PP stopper, clear glass, wide neck | Volumetric Flask 25 mL, DIN A, PP stopper, clear glass, wide neck | 1 | 1pc. | 2,30 € | 24% | 15 | 34,50 € |  |
| 118 | ΥΑΛ.123 | Volumetric Flask 100 mL, DIN A, PP stopper, clear glass, wide neck | Volumetric Flask 100 mL, DIN A, PP stopper, clear glass, wide neck | 1 | 1pc. | 2,93 € | 24% | 27 | 79,11 € |  |
| 119 | ΥΑΛ.124 | Volumetric Flask 250 mL, DIN A, PP stopper, clear glass, wide neck | Volumetric Flask 250 mL, DIN A, PP stopper, clear glass, wide neck | 1 | 1pc. | 4,43 € | 24% | 41 | 181,63 € |  |
| 120 | ΥΑΛ.127 | Watch Glass form covers, Ø 7cm | Watch Glass form covers, Ø 7cm | 1 | 10/pk | 10,12 € | 24% | 6 | 60,72 € |  |
| **Συνολική προϋπολογισθείσα τιμή άνευ Φ.Π.Α.:** | | | | | | | | | **24.756,82 €** |  |
| **Φ.Π.Α. (6% & 24%):** | | | | | | | | | **5.476,62 €** |  |
| **Συνολική προϋπολογισθείσα τιμή συμπ. Φ.Π.Α. (6% & 24%):** | | | | | | | | | **30.233,44 €** |  |

*Παρατηρήσεις :*1. Η προσφορά ισχύει για ενενήντα (90) ημερολογιακές ημέρες.

2. Στις τιμές αυτές περιλαμβάνονται παντός είδους κρατήσεις που βαρύνουν τον ανάδοχο, πλην Φ.Π.Α.

Πάτρα / /2023

Ο Προσφέρων